## Responsibility
RESPONSIBILITY FOR UPKEEP OF EQUIPMENT IN PHSC HOSPITALS (Overall Responsibility: SMO Incharge and one Pharmacist as Nodal Officer)
S.NO. | NAME OF THE EQUIPMENT | RESPONSIBILITY FOR UPKEEP
1 | ANAESTHESIA VENTILATOR | Anaesthetist/Nursing Sister
2 | A-SCAN | Eye Speacialist/Opthalmic Officer
3 | AUDIOMETER | ENT Specialist/Audiologist
4 | AUTOCLAVE (H) | O.T.Assistant
5 | AUTOCLAVE (V) | O.T.Assistant
6 | AUTOMATIC FILM PROCESSOR | Radiographer
7 | AUTOMIST | O.T.Assistant
8 | APHERSIS MACHINE | Pathalogist/BTO
9 | BABY INCUBATOR | Paediatrician
10 | BLOOD CELL SEPERATOR | Pathalogist/BTO
11 | BLOOD CELL COUNTER | Pathalogist/BTO
12 | BLOOD COLLECTION MONITOR CUM MIXER | Pathalogist/BTO
13 | BLOOD GAS ANALYZER | Medical Specialist
14 | BLOOD AGITATOR | Pathalogist/BTO
15 | BLOOD BANK REFRIGERATOR | Pathalogist/BTO
16 | BOYLES APPARATUS | Anaesthetist/Nursing Sister
17 | COLPOSCOPE | Gynaecologist
18 | CARDIAC MONITOR | Medical Specialist
19 | C-ARM UNIT | Orthopaedician
20 | CENTRIFUGE MACHINE | Lab Technician
21 | COLOR DOPPLER | Radiologist
22 | COLONOSCOPE | Surgeon
23 | DEFIBRILLATOR | Medical Specialist
24 | DENTAL X-RAY MACHINE | Dental Doctor
25 | DENTAL CHAIR UNIT | Dental Doctor
26 | DEEP FREEZER (-40 DEGREE) | Pathalogist/BTO
27 | DEEP FREEZER ( -80 DEGREE) | Pathalogist/BTO
28 | DI-ELECTRIC TUBE SEALER | Pathalogist/BTO
29 | ECG MACHINE (COMPUTERIZED) | Medical Specialist
30 | ECG MACHINE (MANUAL) | Medical Specialist
31 | DIALYSIS UNIT | Medical Specialist
32 | ELECTRIC CAUTERY | Surgeon
33 | ELISA READER CUM WASHER | Pathalogist/BTO
34 | EMERGENCY RESUSCITATION KIT | Anaesthetist/Nursing Sister
35 | ENDOSCOPE | Gastro-Enterologist
36 | FOETAL DOPPLER | Gynaecologist
37 | FULLY AUTOANALYZER | Pathalogist/BTO
38 | HYSTEROSCOPE | Gynaecologist
39 | HOT AIR OVEN | Lab Technician
40 | HOLTER MONITOR | Medical Specialist
41 | ICU VENTILATOR | Anaesthetist/Medical Specialist
42 | INCUBATOR | Lab Technician
43 | INFUSION PUMP | Paediatrician
44 | KERATOMETER | Eye Speacialist/Opthalmic Officer
45 | LAPROSCOPE | Surgeon
46 | LAUNDRY UNIT | Washer Man
47 | MAMMOGRAPHY UNIT | Radiologist
48 | MISCROSCOPE (BINOCULAR) | Lab Technician
49 | MISCROSCOPE (MONOCULAR) | Lab Technician
50 | MICROTOME | Pathalogist/BTO
51 | MORTUARY UNIT | Chief Pharmacist
52 | NEBULIZER | Medical Specialist/Paediatrician
53 | OPERATING MICROSCOPE (ENT) | ENT Specialist
54 | OPERATING MICROSCOPE (EYE) | Eye Speacialist
55 | OPERATION TABLE (ELECTRONIC) | Nursing Sister/O.T.Assistant
56 | OPERATION TABLE (HYDROLIC) | Nursing Sister/O.T.Assistant
57 | OPTHELMOSCOPE | Eye Specialist/Opthalmic Officer
58 | OT CEILING LIGHT | Nursing Sister/O.T.Assistant
59 | OT MOBILE LIGHT | Nursing Sister/O.T.Assistant
60 | OTOSCOPE | ENT Specialist
61 | OVEN WAX EMBEDDING | Lab Technician
62 | PHOTOTHERAPY UNIT | Paediatrician
63 | PHACO MACHINE | Eye Specialist
64 | PHOTOELECTRIC CALORIMETER | Lab Technician
65 | PLATELET AGITATOR | Pathalogist/BTO
66 | PULSE OXYMETER | Anaesthetist
67 | PNEUMATIC DRILL | Orthopaediatrician
68 | RADIANT HEAT WARMER | Paediatrician
69 | RETINOSCOPE | Eye Specialist/Opthalmic Officer
70 | SEMI AUTOANALYZER | Lab Technician
71 | SHORTWAVE DIATHERMY | Physiotherapist
72 | SLIT LAMP (EYE) | Eye Specialist/Opthalmic Officer
73 | SPECTRO PHOTOMETER | Lab Technician
74 | SUCTION MACHINE | OT Assistant/Staff Nurse
75 | SIGMOIDOSCOPE | Surgeon
76 | TUR | Surgeon
77 | TISSUE PROCESSOR | Pathologist/BTO
78 | TMT MACHINE | Medical Specialist
79 | ULTRASOUND SCANNER | Radiologist
80 | WATER BATH | Lab Technician
81 | WATER STILL | Lab Technician
82 | WEIGHING MACHINE ADULT | Concerned doctor
83 | WEIGHING MACHINE INFANT | Gynaecologist/Paediatrician
84 | X-RAY 60 mA | Radiographer
85 | X-RAY 100 mA | Radiographer
86 | X-RAY 300 mA | Radiographer
87 | X-RAY 500 mA | Radiographer
* IF ANY EQUIPMENT IS FOUND OTHER THAN ABOVE, PLEASE FIX RESPONSIBILITY AT YOUR OWN LEVEL * IF CONCERNED DOCTOR/ PHARMACIST/TECHNICIAN IS NOT AVAILABLE IN THE HOSPITAL, PLEASE FIX RESPONSIBILITY TO ANYONE AT YOUR OWN LEVEL

## Log Book
PROFORMA
EQUIPMENT LOG BOOK
NAME OF EQUIPMENT : DATE OF SUPPLY/INSTALLATION: MAKE/MODEL : NAME & ADDRESS OF SUPPLIER/AUTHORISED COMPANY : FAX/PHONE NUMBER OF SUPPLIER/AUTHORISED COMPANY: COST OF EQUIPMENT :
S.No. | Date of Breakdown | Date when breakdown reported to SMO | Apparent Cause of breakdown | Date on which firm/PHSC- workshop/ headquarter PHSC was informed | Date when repair was undertaken | Date of Repair | Detail of Repair | Cost of Repair | Signature of concerned doctor/technician | Signature of SMO Incharge